## in
Asset Name | Asset Code | Asset Description | Make | Model | Serial Number | Location Name | Location Code | Supplier/Manufacturer Name | Supplier/Manufacturer Number | Category | Facility Street Address | Facility City | Facility Postal Code | Facility Province | Facility Country | User or Personnel Code | Charge Department Code | Account Code
Facilities - Main Office Building | MOB | Facilities - Main Office Building | [7 empty] | Locations and Facilities | 35 Golden Ave | Aurora | 80011 | CO | United States |  | ADM | 10000-467688
MOB - Lower Level | MOB-LL | MOB - Lower Level |  |  |  | Facilities - Main Office Building | MOB |  |  | Locations and Facilities | [6 empty] | ADM | 10000-467688
MOB - First Floor | MOB-1 | MOB - First Floor |  |  |  | Facilities - Main Office Building | MOB |  |  | Locations and Facilities | [6 empty] | ADM | 10000-467688
MOB - Roof | MOB-ROOF | MOB - Roof |  |  |  | Facilities - Main Office Building | MOB |  |  | Locations and Facilities | [6 empty] | ADM | 10000-467688
MOB - Second Floor | MOB-2 | MOB - Second Floor |  |  |  | Facilities - Main Office Building | MOB |  |  | Locations and Facilities | [6 empty] | ADM | 10000-467688
MOB - Mechanical Room 001 | MOB-001 | MOB - Mechanical Room 001 |  |  |  | MOB - Lower Level | MOB-LL |  |  | Locations and Facilities | [6 empty] | ADM | 10000-467688
MOB - Storeroom | MOB-STORE | MOB - Storeroom |  |  |  | MOB - Lower Level | MOB-LL |  |  | Locations and Facilities | [6 empty] | ADM | 10000-467688
MOB - Office - 101 | MOB-101 | MOB - Office - 101 |  |  |  | MOB - First Floor | MOB-1 |  |  | Locations and Facilities | [6 empty] | ADM | 10000-467688
MOB - Office - 102 | MOB-102 | MOB - Office - 102 |  |  |  | MOB - First Floor | MOB-1 |  |  | Locations and Facilities | [6 empty] | ADM | 10000-467688
MOB - Restroom - 111 | MOB-111 | MOB - Restroom - 111 |  |  |  | MOB - First Floor | MOB-2 |  |  | Locations and Facilities | [6 empty] | ADM | 10000-467689
MOB - Data Center - 110 | MOB-110 | MOB - Data Center - 110 |  |  |  | MOB - First Floor | MOB-2 |  |  | Locations and Facilities | [6 empty] | ADM | 10000-467688
MOB - Conference Room 1 | MOB-201 | MOB - Conference Room 1 |  |  |  | MOB - Second Floor | MOB-2 |  |  | Locations and Facilities | [6 empty] | ADM | 10000-467688
MOB - Conference Room 2 | MOB-202 | MOB - Conference Room 2 |  |  |  | MOB - Second Floor | MOB-2 |  |  | Locations and Facilities | [6 empty] | ADM | 10000-467688
MOB - Restroom - 216 | MOB-216 | MOB - Restroom - 216 |  |  |  | MOB - Second Floor | MOB-2 |  |  | Locations and Facilities | [6 empty] | ADM | 10000-467689
MOB - Air Handler 1 | MOB-AHU-001 | 25 Ton Air Handler Unit - Serving 1st Floor Offices | Trane | AB 755A | 768923898 | MOB - Mechanical Room 001 | MOB-001 | Trane | 4P6432 | Air Handler Units | [6 empty] | FPM | 10000-391006
MOB - Air Handler 2 | MOB-AHU-002 | 10 Ton Air Handler Unit - Serving Lower Level | Carrier | 39CC | 24234532 | MOB - Mechanical Room 001 | MOB-001 | Carrier | J524345 | Air Handler Units | [6 empty] | FPM | 10000-391006
MOB - Boiler 1 | MOB-BLR-001 | Fire Tube Boiler | Utica | BLL 773 | BL531334 | MOB - Mechanical Room 001 | MOB-001 | Utica | G425342 | Boilers | [6 empty] | FPM | 10000-391006
MOB - Chiller 1 | MOB-CHL-001 | Centrifugal Chiller | Daikin | DK7653 | 523425532 | MOB - Mechanical Room 001 | MOB-001 | Daikin | T-32455 | Chillers | [6 empty] | FPM | 10000-391006
MOB - Cooling Tower 1 | MOB-CT-001 | Cooling Tower | Delta | DT 68y89 | 225234 | MOB - Roof | MOB-ROOF | Delta | 7YH07778 | Cooling Towers | [6 empty] | FPM | 10000-391006
MOB - Water Heater 1 | MOB-DWH-001 | Domestic Water Heater - 100,000 BTUs | Utica | 2378GG | 52452345 | MOB - Mechanical Room 001 | MOB-001 | Utica | 23234133 | Domestic Water Heaters | [6 empty] | FPM | 78765-393456
MOB - Exhaust Fan | MOB-EXF-001 | Exhaust Fan | Trane | 7868723 | 87870988 | MOB - Mechanical Room 001 | MOB-001 | Trane | G3241134 | Exhaust Fans | [6 empty] | FPM | 78765-393456
MOB - VAV Box 101 | MOB-VAV-101 | VAV Box - Above Ceiling Office 101 | Johnson Controls | VV663 | 6238973 | MOB - Office - 101 | MOB-101 | Johnson Controls | 41344243 | VAV Boxes | [6 empty] | FPM | 78765-393456
MOB - VAV Box 102 | MOB-VAV-102 | VAV Box - Above Ceiling Office 102 | Johnson Controls | VV663 | 342354 | MOB - Office - 102 | MOB-102 | Johnson Controls | FG3253 | VAV Boxes | [6 empty] | FPM | 78765-393456
MOB - Emergency Generator | MOB-GEN-001 | Emergency Generator | Cummins | 86SFG7 | 346454 | Facilities - Main Office Building | MOB | Cummins | P868698 | Generators | [6 empty] | FPM | 78765-393456
MOB - Condenser Water Pump 1 | MOB-CDW-001 | Condenser Water Pump 1 | Taco | 7657798 | 8967608 | MOB - Mechanical Room 001 | MOB-001 | Taco | P689260 | Pumps | [6 empty] | FPM | 10000-653672
MOB - Fire Extinguisher 1 | MOB-FE-1 | Fire Extinguisher 1 | Kidde | FA 340HD | 234235 | MOB - Lower Level | MOB-LL | Grainger | 5T900 | Fire Extinguishers | [6 empty] | FLS | 10000-345663
MOB - Fire Extinguisher 2 | MOB-FE-2 | Fire Extinguisher 2 | Kidde | FA 340HD | 523342 | MOB - Lower Level | MOB-LL | Grainger | 5T900 | Fire Extinguishers | [6 empty] | FLS | 10000-345663
MOB - Fire Extinguisher 7 | MOB-FE-7 | Fire Extinguisher 7 | Kidde | FA 340HD | 534534 | MOB - Mechanical Room 001 | MOB-001 | Grainger | 5T900 | Fire Extinguishers | [6 empty] | FLS | 10000-345663
MOB - Fire Extinguisher 11 | MOB-FE-11 | Fire Extinguisher 11 | Kidde | FA 340HD | 63434523 | MOB - First Floor | MOB-1 | Grainger | 5T900 | Fire Extinguishers | [6 empty] | FLS | 10000-345663